<NAME>	Issue Date			{Date and time}

<Line one address>

<Line two address>

<Town>

<Postcode>

| Product Description: | <Brand and Name of Product> |
| --- | --- |
| Type of bar code: | {Symbology} |
| Data encoded: | {Decoded text} |
| Print Method: Number of bar codes on product: | <Print Method> <Number of Symbols> |

| Please Note: | - These assessments are based on meeting the minimum GS1 standards. |
| --- | --- |
|  | - To ensure efficient scanning, the bar code should exceed the minimum. |

Testing Summary

| GS1 General Specifications for Linear Symbols tested environments: |  |
| --- | --- |
| 1) Omni-directional Retail Point of Sale (POS) | PASS or FAIL or Not assessed |
| 2) General Distribution (Automated scanning in Supply Chain) | PASS or FAIL or Not assessed |
| 2.1) GS1 Logistic Label (SSCC) | PASS or FAIL or Not assessed |
| 3) General Purpose Hand Scanning | PASS or FAIL or Not assessed |
| Complies to GS1 Symbol Location Recommendations | In/Out Spec (& comment on business critical issue) |
| ISO Symbol Grade | {Overall grade} (0.0 – 4.0) PASS/FAIL |
| Business Critical Comments |  |

The bar code(s) is (are) tested in compliance to the three end user scanning environments as listed below.

- The Omni-directional Retail Point of Sale (POS) band is primarily intended for retail operations to provide orientation-free scanning. Scanners are designed to read EAN-13, UPC-A, UPC-E and EAN-8 symbols.

- General Distribution covers any Supply Chain, Logistics Label and/or automated scanning environment. It is primarily intended to facilitate automated scanning of trade items. In this environment it is essential to maintain symbol height and location to achieve acceptable scan rates.

- The Hand scanning band covers a broad range of applications. Symbol size must be within the maximum and minimum boundaries for the symbology, but the target size is directly related to the exact usage.

| Technical Analysis of Symbol |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| GS1 Parameters | Comment Reference | Assessed | Within Standard Range | Required |  | ISO Parameters | Comment Reference | Grade ISO/ANSI | Within Standard Range | Required |
| Symbol Structure1 |  |  |  | (dependent on symbol encoded) |  | Overall ISO Grade3 |  | {Overall grade} |  | >1.5 |
| Matrix size |  | {Size} |  | 0.264mm-0.660mm |  | Decode |  | {Decode} |  | >1.5 |
| Cell size |  | {Cell size} |  | 26.04mm |  | Symbol Contrast |  | {Contrast} |  | >1.5 |
| Data Structure |  |  |  | (dependent on structure encoded) |  | Modulation |  | {Modulation} |  | >1.5 |
| Validity of GS1 Company Prefix |  |  |  |  |  | Axial Nonuniformity |  | {Axial Nonuniformity} |  | >1.5 |
| Human Readable |  |  |  |  |  | Grid Nonuniformity |  | {Grid Nonuniformity} |  | >1.5 |
|  |  |  |  |  |  | Unused Error Correction (UEC) |  | {Unused EC} |  | >1.5 |
|  |  |  |  |  |  | Print Growth (horizontal) |  | {X print growth} |  |  |
|  |  |  |  |  |  | Print Growth (vertical) |  | {Y print growth} |  |  |
|  |  |  |  |  |  | Quiet Zones (QZL1, QZL2) |  | {QZL1} {QZL2} |  | >1.5 |
|  |  |  |  |  |  | L1 and L2 |  | {L1} {L2} |  | >1.5 |
|  |  |  |  |  |  | Format information |  | {Format info} |  | >1.5 |
|  |  |  |  |  |  | Version information |  | {Version} |  |  |

| Educational Comments |  |
| --- | --- |
| Notes (informative localised) | Important Note (normative localised) |
| - It is the responsibility of the brand owner to ensure the correct use of the GS1 Company Prefix and the correct allocation of the data content. - Rejection of products should not necessarily be based only on an out of specification results - Bar Code verifiers are measuring devices and are tools that can be used for assisting in quality control. The results are not absolute in that they do not necessarily prove or disprove that the bar code symbol will scan. - This report may not be amended after issue. In the event of a dispute over contents the version held at [TESTING AGENCY] will be deemed to be the correct and original version of this report. | - This Verification Report may contain privileged and confidential information intended only for the use of the addressee named above. If you are not the intended recipient of this report you are hereby notified that any use, dissemination, distribution or reproduction of this message is prohibited. If you received this message in error please notify [TESTING AGENCY]. |
|  | Disclaimer (legal localised) |
|  | - This report does not constitute evidence for the purpose of any litigation, and [TESTING AGENCY] will not enter into any discussion, or respond to any correspondence in relation to litigation. - Every possible effort has been made to ensure that the information and specifications in the Bar Code Verification Reports are correct, however, [TESTING AGENCY] expressly disclaims liability for any errors. |